## Action spectra
CIE S 026 α-opic Toolbox - v1.049a - 2020/11
Action spectra | Please note the α-opic Toolbox is not part of CIE S 026. See Disclaimer sheet.
CIE S 026 action spectra are standardised in the radiometric system (left), and different values apply in the photon system (right), see 2019 SI Brochure 9th Edition Appendix III.
Further spectific details for the origins and derivations for the new, standard, α-opic action spectra are given in CIE S 026/E:2018.
Unrounded α-opic efficacy of luminance radiation (ELR) for daylight (D65), KD65α,v (values used in Toolbox calculations)
| S-cone-opic | 0.81729 | mW.lm-1
| M-cone-opic | 1.4558 | mW.lm-1
| L-cone-opic | 1.6289 | mW.lm-1
| Rhodopic | 1.4497 | mW.lm-1
| Melanopic | 1.3262 | mW.lm-1
| Radiometric system (displayed with standard rounding) |  |  |  | sα(λ) = se,α(λ) |  | Photon system (calculated based on rounded radiometric values) |  |  |  | sp,α(λ)
| ssc(λ) | smc(λ) | slc(λ) | srh(λ) | smel(λ) |  | sp,sc(λ) | sp,mc(λ) | sp,lc(λ) | sp,rh(λ) | sp,mel(λ)
| S-cone-opic | M-cone-opic | L-cone-opic | Rhodopic | Melanopic |  | S-cone-opic | M-cone-opic | L-cone-opic | Rhodopic | Melanopic
nm | sc | mc | lc | rh | mel | nm | sc | mc | lc | rh | mel
380 |  |  |  | 0.000589 | 0.00091816 | 380 |  |  |  | 0.00078355 | 0.0011815
381 |  |  |  | 0.000665 | 0.0010456 | 381 |  |  |  | 0.00088233 | 0.0013419
382 |  |  |  | 0.000752 | 0.0011786 | 382 |  |  |  | 0.00099515 | 0.0015086
383 |  |  |  | 0.000854 | 0.0013228 | 383 |  |  |  | 0.0011272 | 0.0016888
384 |  |  |  | 0.000972 | 0.0014838 | 384 |  |  |  | 0.0012796 | 0.0018894
385 |  |  |  | 0.001108 | 0.0016672 | 385 |  |  |  | 0.0014548 | 0.0021175
386 |  |  |  | 0.001268 | 0.001881 | 386 |  |  |  | 0.0016606 | 0.0023828
387 |  |  |  | 0.001453 | 0.0021299 | 387 |  |  |  | 0.001898 | 0.0026911
388 |  |  |  | 0.001668 | 0.0024146 | 388 |  |  |  | 0.0021732 | 0.0030429
389 |  |  |  | 0.001918 | 0.0027358 | 389 |  |  |  | 0.0024925 | 0.0034389
390 | 0.0061427 | 0.00035823 | 0.00040762 | 0.002209 | 0.0030944 | 390 | 0.0070472 | 0.00049654 | 0.00059231 | 0.0028633 | 0.0038797
391 | 0.0074428 | 0.00043866 | 0.00049707 | 0.002547 | 0.0035071 | 391 | 0.008517 | 0.00060647 | 0.00072045 | 0.003293 | 0.0043858
392 | 0.0090166 | 0.00053623 | 0.00060471 | 0.002939 | 0.0039908 | 392 | 0.010292 | 0.00073947 | 0.00087423 | 0.0037901 | 0.004978
393 | 0.010917 | 0.00065406 | 0.00073364 | 0.003394 | 0.0045468 | 393 | 0.012429 | 0.00089967 | 0.0010579 | 0.0043657 | 0.0056572
394 | 0.013205 | 0.00079565 | 0.00088725 | 0.003921 | 0.0051763 | 394 | 0.014996 | 0.0010917 | 0.0012762 | 0.0050308 | 0.006424
395 | 0.015952 | 0.00096483 | 0.0010692 | 0.00453 | 0.0058804 | 395 | 0.018069 | 0.0013204 | 0.001534 | 0.0057974 | 0.0072793
396 | 0.019235 | 0.0011657 | 0.0012834 | 0.00524 | 0.0066933 | 396 | 0.021733 | 0.0015913 | 0.0018367 | 0.0066892 | 0.0082648
397 | 0.023144 | 0.0014026 | 0.0015338 | 0.00605 | 0.007651 | 397 | 0.026084 | 0.0019099 | 0.0021895 | 0.0077037 | 0.0094236
398 | 0.027775 | 0.0016799 | 0.0018244 | 0.00698 | 0.0087569 | 398 | 0.031225 | 0.0022817 | 0.0025978 | 0.0088656 | 0.010759
399 | 0.033234 | 0.0020018 | 0.002159 | 0.00806 | 0.010015 | 399 | 0.037268 | 0.0027121 | 0.0030664 | 0.010212 | 0.012273
400 | 0.039631 | 0.0023721 | 0.0025407 | 0.00929 | 0.011428 | 400 | 0.04433 | 0.0032057 | 0.0035997 | 0.011741 | 0.01397
401 | 0.04708 | 0.0027943 | 0.0029728 | 0.0107 | 0.013077 | 401 | 0.052531 | 0.003767 | 0.0042013 | 0.013489 | 0.015946
402 | 0.055701 | 0.0032737 | 0.0034599 | 0.01231 | 0.01504 | 402 | 0.061996 | 0.0044023 | 0.0048776 | 0.01548 | 0.018294
403 | 0.065614 | 0.0038166 | 0.0040079 | 0.01413 | 0.017317 | 403 | 0.072848 | 0.0051195 | 0.0056361 | 0.017724 | 0.021011
404 | 0.076932 | 0.0044302 | 0.0046237 | 0.01619 | 0.019907 | 404 | 0.085203 | 0.0059279 | 0.0064859 | 0.020258 | 0.024094
405 | 0.089761 | 0.0051232 | 0.0053155 | 0.01852 | 0.022811 | 405 | 0.099165 | 0.0068382 | 0.0074379 | 0.023116 | 0.027541
406 | 0.10419 | 0.0059046 | 0.0060914 | 0.02113 | 0.026319 | 406 | 0.11482 | 0.0078618 | 0.0085026 | 0.026309 | 0.031698
407 | 0.12027 | 0.0067801 | 0.0069529 | 0.02405 | 0.030596 | 407 | 0.13222 | 0.0090053 | 0.0096813 | 0.029871 | 0.036759
408 | 0.13804 | 0.0077526 | 0.0078963 | 0.0273 | 0.035454 | 408 | 0.15139 | 0.010272 | 0.010968 | 0.033825 | 0.04249
409 | 0.15749 | 0.0088229 | 0.008913 | 0.03089 | 0.040703 | 409 | 0.17228 | 0.011661 | 0.01235 | 0.038179 | 0.048662
410 | 0.17853 | 0.0099884 | 0.0099884 | 0.03484 | 0.046155 | 410 | 0.19483 | 0.01317 | 0.013806 | 0.042957 | 0.055045
411 | 0.20108 | 0.011245 | 0.011105 | 0.03916 | 0.051782 | 411 | 0.2189 | 0.014791 | 0.015313 | 0.048166 | 0.061606
412 | 0.22509 | 0.012595 | 0.012261 | 0.0439 | 0.05778 | 412 | 0.24445 | 0.016526 | 0.016865 | 0.053865 | 0.068576
413 | 0.25057 | 0.014042 | 0.013458 | 0.049 | 0.064297 | 413 | 0.27145 | 0.01838 | 0.018467 | 0.059977 | 0.076125
414 | 0.27751 | 0.015594 | 0.014704 | 0.0545 | 0.07148 | 414 | 0.29992 | 0.020362 | 0.020128 | 0.066547 | 0.084425
415 | 0.30594 | 0.01726 | 0.016013 | 0.0604 | 0.079477 | 415 | 0.32985 | 0.022482 | 0.021867 | 0.073574 | 0.093643
416 | 0.33586 | 0.019047 | 0.017396 | 0.0668 | 0.089181 | 416 | 0.36123 | 0.024751 | 0.023698 | 0.081174 | 0.10482
417 | 0.36698 | 0.020955 | 0.018845 | 0.0736 | 0.10076 | 417 | 0.39376 | 0.027164 | 0.025611 | 0.089223 | 0.11815
418 | 0.39888 | 0.022976 | 0.020344 | 0.0808 | 0.11326 | 418 | 0.42696 | 0.029714 | 0.027582 | 0.097717 | 0.13249
419 | 0.431 | 0.025102 | 0.02187 | 0.0885 | 0.12573 | 419 | 0.46024 | 0.032385 | 0.02958 | 0.10677 | 0.14673
420 | 0.46269 | 0.027316 | 0.023396 | 0.0966 | 0.13724 | 420 | 0.49291 | 0.035159 | 0.031568 | 0.11627 | 0.15977
421 | 0.49336 | 0.029606 | 0.024896 | 0.1052 | 0.14745 | 421 | 0.52433 | 0.038015 | 0.033513 | 0.12632 | 0.17125
422 | 0.52301 | 0.031975 | 0.026376 | 0.1141 | 0.15701 | 422 | 0.55452 | 0.040959 | 0.035421 | 0.13668 | 0.18193
423 | 0.55194 | 0.034433 | 0.027854 | 0.1235 | 0.16646 | 423 | 0.58382 | 0.044004 | 0.037317 | 0.14759 | 0.19243
424 | 0.5806 | 0.036998 | 0.029355 | 0.1334 | 0.17632 | 424 | 0.61268 | 0.047171 | 0.039236 | 0.15905 | 0.20333
425 | 0.60957 | 0.039693 | 0.03091 | 0.1436 | 0.1871 | 425 | 0.64174 | 0.050487 | 0.041217 | 0.17081 | 0.21526
426 | 0.63936 | 0.04254 | 0.03255 | 0.1541 | 0.19921 | 426 | 0.67152 | 0.053982 | 0.043301 | 0.18286 | 0.22866
427 | 0.66965 | 0.045547 | 0.034271 | 0.1651 | 0.21241 | 427 | 0.70169 | 0.057663 | 0.045485 | 0.19546 | 0.24324
428 | 0.69983 | 0.048716 | 0.036062 | 0.1764 | 0.22623 | 428 | 0.7316 | 0.06153 | 0.047749 | 0.20835 | 0.25845
429 | 0.72918 | 0.052047 | 0.037905 | 0.1879 | 0.2402 | 429 | 0.7605 | 0.065583 | 0.050073 | 0.22141 | 0.27378
430 | 0.75689 | 0.055538 | 0.039781 | 0.1998 | 0.25387 | 430 | 0.78757 | 0.069821 | 0.052429 | 0.23489 | 0.28868
431 | 0.78229 | 0.059188 | 0.04167 | 0.2119 | 0.26702 | 431 | 0.81211 | 0.074236 | 0.054792 | 0.24854 | 0.30294
432 | 0.80567 | 0.062982 | 0.043573 | 0.2243 | 0.27998 | 432 | 0.83444 | 0.078812 | 0.05716 | 0.26247 | 0.3169
433 | 0.8276 | 0.066903 | 0.045493 | 0.2369 | 0.29303 | 433 | 0.85518 | 0.083525 | 0.059542 | 0.27657 | 0.33091
434 | 0.84878 | 0.070929 | 0.047439 | 0.2496 | 0.3065 | 434 | 0.87505 | 0.088346 | 0.061945 | 0.29073 | 0.34532
435 | 0.86998 | 0.07503 | 0.049417 | 0.2625 | 0.32068 | 435 | 0.89484 | 0.09324 | 0.06438 | 0.30505 | 0.36047
436 | 0.89176 | 0.079177 | 0.051434 | 0.2755 | 0.33602 | 436 | 0.91514 | 0.098168 | 0.066854 | 0.31943 | 0.37684
437 | 0.91344 | 0.083346 | 0.053474 | 0.2886 | 0.35236 | 437 | 0.93525 | 0.1031 | 0.069346 | 0.33385 | 0.39427
438 | 0.93398 | 0.087516 | 0.05551 | 0.3017 | 0.36913 | 438 | 0.95409 | 0.10801 | 0.071823 | 0.34821 | 0.41209
439 | 0.95222 | 0.091662 | 0.057517 | 0.3149 | 0.38573 | 439 | 0.9705 | 0.11287 | 0.074249 | 0.36261 | 0.42964
440 | 0.96696 | 0.095761 | 0.059462 | 0.3281 | 0.40159 | 440 | 0.98329 | 0.11765 | 0.076586 | 0.37695 | 0.44629
441 | 0.97734 | 0.099798 | 0.061324 | 0.3412 | 0.41647 | 441 | 0.99159 | 0.12233 | 0.078805 | 0.39112 | 0.46178
442 | 0.98403 | 0.1038 | 0.063129 | 0.3543 | 0.4308 | 442 | 0.99612 | 0.12696 | 0.080941 | 0.40521 | 0.47658
443 | 0.98814 | 0.10783 | 0.064919 | 0.3673 | 0.44492 | 443 | 0.99803 | 0.13159 | 0.083048 | 0.41913 | 0.49109
444 | 0.99085 | 0.11195 | 0.066742 | 0.3803 | 0.4592 | 444 | 0.99851 | 0.1363 | 0.085189 | 0.43299 | 0.50572
445 | 0.99334 | 0.11622 | 0.068654 | 0.3931 | 0.474 | 445 | 0.99876 | 0.14118 | 0.087431 | 0.44656 | 0.52084
446 | 0.99637 | 0.12071 | 0.070696 | 0.406 | 0.48952 | 446 | 0.99957 | 0.1463 | 0.089831 | 0.46018 | 0.53668
447 | 0.99904 | 0.12536 | 0.072851 | 0.418 | 0.50552 | 447 | 1 | 0.15161 | 0.092361 | 0.47272 | 0.55299
448 | 0.99998 | 0.13011 | 0.075078 | 0.431 | 0.52174 | 448 | 0.99871 | 0.157 | 0.094972 | 0.48633 | 0.56946
449 | 0.99784 | 0.13486 | 0.077332 | 0.443 | 0.5379 | 449 | 0.99436 | 0.16236 | 0.097606 | 0.49876 | 0.58579
450 | 0.99133 | 0.13949 | 0.079565 | 0.455 | 0.55371 | 450 | 0.98567 | 0.16757 | 0.1002 | 0.51113 | 0.60167
451 | 0.97966 | 0.14394 | 0.081737 | 0.467 | 0.5691 | 451 | 0.9719 | 0.17253 | 0.10271 | 0.52345 | 0.61702
452 | 0.96391 | 0.14828 | 0.083883 | 0.479 | 0.58424 | 452 | 0.95416 | 0.17734 | 0.10517 | 0.53571 | 0.63203
453 | 0.94557 | 0.15264 | 0.08606 | 0.49 | 0.59928 | 453 | 0.93395 | 0.18215 | 0.10766 | 0.54681 | 0.64687
454 | 0.92608 | 0.15716 | 0.088332 | 0.502 | 0.61437 | 454 | 0.91268 | 0.18713 | 0.11026 | 0.55896 | 0.6617
455 | 0.90673 | 0.16201 | 0.09077 | 0.513 | 0.62965 | 455 | 0.89165 | 0.19248 | 0.11306 | 0.56996 | 0.67667
456 | 0.88851 | 0.16733 | 0.09344 | 0.524 | 0.64519 | 456 | 0.87181 | 0.19837 | 0.11613 | 0.5809 | 0.69185
457 | 0.87135 | 0.17314 | 0.096358 | 0.535 | 0.66089 | 457 | 0.85311 | 0.20481 | 0.11949 | 0.5918 | 0.70713
458 | 0.855 | 0.17942 | 0.09953 | 0.546 | 0.67666 | 458 | 0.83527 | 0.21177 | 0.12316 | 0.60265 | 0.72242
459 | 0.8392 | 0.18612 | 0.10296 | 0.557 | 0.69241 | 459 | 0.81805 | 0.2192 | 0.12713 | 0.61345 | 0.73763
460 | 0.82373 | 0.1932 | 0.10666 | 0.567 | 0.70805 | 460 | 0.80122 | 0.22705 | 0.13141 | 0.6231 | 0.75265
461 | 0.80831 | 0.20062 | 0.11063 | 0.578 | 0.72359 | 461 | 0.78451 | 0.23525 | 0.136 | 0.63381 | 0.7675
462 | 0.79243 | 0.20832 | 0.11483 | 0.588 | 0.73911 | 462 | 0.76744 | 0.24375 | 0.14085 | 0.64338 | 0.78226
463 | 0.77557 | 0.21621 | 0.11922 | 0.599 | 0.75456 | 463 | 0.74949 | 0.25244 | 0.14592 | 0.65401 | 0.79689
464 | 0.75724 | 0.22423 | 0.12374 | 0.61 | 0.76994 | 464 | 0.7302 | 0.26124 | 0.15113 | 0.66458 | 0.81138
465 | 0.73704 | 0.23228 | 0.12834 | 0.62 | 0.78522 | 465 | 0.70919 | 0.27003 | 0.15641 | 0.67402 | 0.8257
466 | 0.71473 | 0.24026 | 0.13295 | 0.631 | 0.80068 | 466 | 0.68625 | 0.27871 | 0.16168 | 0.68451 | 0.84016
467 | 0.69056 | 0.24816 | 0.13757 | 0.642 | 0.81635 | 467 | 0.66162 | 0.28726 | 0.16694 | 0.69495 | 0.85477
468 | 0.66489 | 0.25599 | 0.14222 | 0.653 | 0.8318 | 468 | 0.63567 | 0.29569 | 0.17222 | 0.70535 | 0.86908
469 | 0.63808 | 0.26374 | 0.14691 | 0.664 | 0.84659 | 469 | 0.60873 | 0.304 | 0.17751 | 0.7157 | 0.88264
470 | 0.61046 | 0.27144 | 0.15165 | 0.676 | 0.86029 | 470 | 0.58114 | 0.3122 | 0.18286 | 0.72708 | 0.89502
471 | 0.58235 | 0.2791 | 0.15648 | 0.687 | 0.87292 | 471 | 0.5532 | 0.32033 | 0.18827 | 0.73735 | 0.90624
472 | 0.55407 | 0.28675 | 0.1614 | 0.699 | 0.88487 | 472 | 0.52522 | 0.32842 | 0.19379 | 0.74864 | 0.91669
473 | 0.5259 | 0.29448 | 0.16646 | 0.71 | 0.89624 | 473 | 0.49747 | 0.33655 | 0.19944 | 0.75881 | 0.92651
474 | 0.49811 | 0.30232 | 0.17169 | 0.722 | 0.90716 | 474 | 0.47019 | 0.34479 | 0.20527 | 0.77001 | 0.93582
475 | 0.47089 | 0.31037 | 0.17712 | 0.734 | 0.91773 | 475 | 0.44356 | 0.35322 | 0.21131 | 0.78116 | 0.94473
476 | 0.44445 | 0.31869 | 0.18278 | 0.745 | 0.92834 | 476 | 0.41777 | 0.36193 | 0.21761 | 0.7912 | 0.95365
477 | 0.41899 | 0.32731 | 0.18868 | 0.757 | 0.93895 | 477 | 0.39302 | 0.37093 | 0.22417 | 0.80226 | 0.96252
478 | 0.3947 | 0.33623 | 0.19484 | 0.769 | 0.94903 | 478 | 0.36946 | 0.38025 | 0.23101 | 0.81327 | 0.97082
479 | 0.37171 | 0.34548 | 0.20126 | 0.781 | 0.95809 | 479 | 0.34721 | 0.38989 | 0.23811 | 0.82423 | 0.97804
480 | 0.35011 | 0.35507 | 0.20794 | 0.793 | 0.96561 | 480 | 0.32635 | 0.39988 | 0.2455 | 0.83516 | 0.98366
481 | 0.3299 | 0.36499 | 0.21488 | 0.805 | 0.97198 | 481 | 0.30688 | 0.41019 | 0.25316 | 0.84603 | 0.98809
482 | 0.31086 | 0.37514 | 0.22202 | 0.817 | 0.97783 | 482 | 0.28857 | 0.42073 | 0.26104 | 0.85686 | 0.99198
483 | 0.29274 | 0.38541 | 0.22932 | 0.828 | 0.98301 | 483 | 0.27118 | 0.43135 | 0.26906 | 0.8666 | 0.99516
484 | 0.27534 | 0.39565 | 0.23668 | 0.84 | 0.98733 | 484 | 0.25453 | 0.4419 | 0.27713 | 0.87734 | 0.99747
485 | 0.2585 | 0.40569 | 0.24405 | 0.851 | 0.99062 | 485 | 0.23847 | 0.45218 | 0.28516 | 0.887 | 0.99874
486 | 0.24216 | 0.41543 | 0.25135 | 0.862 | 0.99334 | 486 | 0.22294 | 0.46209 | 0.29309 | 0.89662 | 0.99942
487 | 0.2265 | 0.42506 | 0.2587 | 0.873 | 0.99589 | 487 | 0.2081 | 0.47183 | 0.30104 | 0.90619 | 0.99992
488 | 0.21173 | 0.43485 | 0.26625 | 0.884 | 0.99801 | 488 | 0.19412 | 0.4817 | 0.3092 | 0.91573 | 1
489 | 0.19796 | 0.4451 | 0.2742 | 0.894 | 0.99946 | 489 | 0.18113 | 0.49204 | 0.31778 | 0.9242 | 0.99941
490 | 0.1853 | 0.45614 | 0.28275 | 0.904 | 1 | 490 | 0.1692 | 0.50322 | 0.32702 | 0.93263 | 0.99791
491 | 0.17375 | 0.46824 | 0.29207 | 0.914 | 0.99956 | 491 | 0.15833 | 0.51552 | 0.33711 | 0.94102 | 0.99544
492 | 0.16315 | 0.48125 | 0.30209 | 0.923 | 0.99836 | 492 | 0.14837 | 0.52877 | 0.34797 | 0.94836 | 0.99222
493 | 0.15331 | 0.49493 | 0.31267 | 0.932 | 0.99659 | 493 | 0.13914 | 0.54269 | 0.35942 | 0.95566 | 0.98845
494 | 0.14409 | 0.50895 | 0.32364 | 0.941 | 0.99442 | 494 | 0.1305 | 0.55693 | 0.37127 | 0.96294 | 0.9843
495 | 0.13535 | 0.52297 | 0.33479 | 0.949 | 0.99202 | 495 | 0.12234 | 0.57112 | 0.38329 | 0.96916 | 0.97995
496 | 0.12701 | 0.5367 | 0.34594 | 0.957 | 0.98879 | 496 | 0.11457 | 0.58494 | 0.39526 | 0.97536 | 0.97479
497 | 0.11902 | 0.55019 | 0.35713 | 0.964 | 0.98422 | 497 | 0.10715 | 0.59844 | 0.40722 | 0.98052 | 0.96833
498 | 0.11133 | 0.56362 | 0.36842 | 0.97 | 0.97866 | 498 | 0.10003 | 0.6118 | 0.41925 | 0.98464 | 0.96092
499 | 0.10393 | 0.57715 | 0.37991 | 0.976 | 0.97245 | 499 | 0.093193 | 0.62524 | 0.43146 | 0.98875 | 0.95291
500 | 0.096799 | 0.591 | 0.39171 | 0.982 | 0.96595 | 500 | 0.086622 | 0.63897 | 0.44397 | 0.99283 | 0.94465
501 | 0.089917 | 0.60535 | 0.40391 | 0.986 | 0.95884 | 501 | 0.080303 | 0.65317 | 0.45688 | 0.99489 | 0.93583
502 | 0.083288 | 0.62016 | 0.4165 | 0.99 | 0.95072 | 502 | 0.074234 | 0.66782 | 0.47019 | 0.99694 | 0.92605
503 | 0.076916 | 0.63534 | 0.42945 | 0.994 | 0.94178 | 503 | 0.068418 | 0.68281 | 0.48385 | 0.99897 | 0.91552
504 | 0.070805 | 0.6508 | 0.44272 | 0.997 | 0.93224 | 504 | 0.062858 | 0.69803 | 0.49781 | 1 | 0.90444
505 | 0.064961 | 0.6664 | 0.45625 | 0.998 | 0.9223 | 505 | 0.057556 | 0.71335 | 0.51201 | 0.99902 | 0.89303
506 | 0.059405 | 0.68205 | 0.47 | 1 | 0.91183 | 506 | 0.052529 | 0.72866 | 0.52639 | 0.99904 | 0.88115
507 | 0.054208 | 0.69767 | 0.48393 | 1 | 0.9006 | 507 | 0.047839 | 0.74388 | 0.54092 | 0.99707 | 0.86858
508 | 0.049428 | 0.71319 | 0.49801 | 1 | 0.88866 | 508 | 0.043535 | 0.75892 | 0.55557 | 0.99511 | 0.85538
509 | 0.045099 | 0.72853 | 0.51223 | 0.998 | 0.87607 | 509 | 0.039644 | 0.77372 | 0.5703 | 0.99117 | 0.84161
510 | 0.041234 | 0.74361 | 0.52654 | 0.997 | 0.86289 | 510 | 0.036175 | 0.7882 | 0.58509 | 0.98824 | 0.82731
511 | 0.037814 | 0.7584 | 0.54092 | 0.994 | 0.8488 | 511 | 0.03311 | 0.80229 | 0.5999 | 0.98333 | 0.81221
512 | 0.034763 | 0.77297 | 0.55541 | 0.99 | 0.83368 | 512 | 0.030379 | 0.81611 | 0.61476 | 0.97746 | 0.79619
513 | 0.032003 | 0.78746 | 0.57003 | 0.986 | 0.81783 | 513 | 0.027912 | 0.82979 | 0.62971 | 0.97162 | 0.77953
514 | 0.029475 | 0.80202 | 0.58483 | 0.981 | 0.80158 | 514 | 0.025657 | 0.84349 | 0.6448 | 0.96481 | 0.76255
515 | 0.02713 | 0.81681 | 0.59987 | 0.975 | 0.78523 | 515 | 0.02357 | 0.85738 | 0.6601 | 0.95705 | 0.74555
516 | 0.024938 | 0.83192 | 0.61516 | 0.968 | 0.76872 | 516 | 0.021624 | 0.87154 | 0.67562 | 0.94833 | 0.72846
517 | 0.022893 | 0.8471 | 0.63057 | 0.961 | 0.75181 | 517 | 0.019813 | 0.88573 | 0.6912 | 0.93965 | 0.71105
518 | 0.020996 | 0.86197 | 0.64588 | 0.953 | 0.73459 | 518 | 0.018135 | 0.89954 | 0.70662 | 0.93003 | 0.69343
519 | 0.019243 | 0.87615 | 0.66088 | 0.944 | 0.71717 | 519 | 0.016589 | 0.91258 | 0.72164 | 0.91948 | 0.67568
520 | 0.01763 | 0.88921 | 0.67531 | 0.935 | 0.69963 | 520 | 0.015169 | 0.9244 | 0.73598 | 0.90896 | 0.65788
521 | 0.01615 | 0.90081 | 0.68898 | 0.925 | 0.68189 | 521 | 0.01387 | 0.93466 | 0.74943 | 0.89751 | 0.63997
522 | 0.014791 | 0.91101 | 0.70189 | 0.915 | 0.66388 | 522 | 0.012678 | 0.94343 | 0.76201 | 0.88611 | 0.62188
523 | 0.013541 | 0.91997 | 0.71414 | 0.904 | 0.64572 | 523 | 0.011584 | 0.95089 | 0.77383 | 0.87378 | 0.60371
524 | 0.012388 | 0.92789 | 0.72584 | 0.892 | 0.62753 | 524 | 0.010578 | 0.95725 | 0.78501 | 0.86054 | 0.58559
525 | 0.011325 | 0.93498 | 0.73711 | 0.88 | 0.60942 | 525 | 0.0096519 | 0.96272 | 0.79567 | 0.84734 | 0.5676
526 | 0.010344 | 0.94141 | 0.74805 | 0.867 | 0.59134 | 526 | 0.0087986 | 0.9675 | 0.80594 | 0.83324 | 0.54971
527 | 0.0094409 | 0.94728 | 0.75868 | 0.854 | 0.57321 | 527 | 0.0080155 | 0.97169 | 0.81585 | 0.81919 | 0.53185
528 | 0.0086137 | 0.95262 | 0.76903 | 0.84 | 0.5551 | 528 | 0.0072993 | 0.97532 | 0.82542 | 0.80423 | 0.51408
529 | 0.0078583 | 0.9575 | 0.7791 | 0.826 | 0.53711 | 529 | 0.0066466 | 0.97845 | 0.83464 | 0.78933 | 0.49647
530 | 0.0071709 | 0.96196 | 0.7889 | 0.811 | 0.51931 | 530 | 0.0060537 | 0.98116 | 0.84355 | 0.77354 | 0.47911
531 | 0.0065465 | 0.96608 | 0.79847 | 0.796 | 0.50165 | 531 | 0.0055162 | 0.98351 | 0.85217 | 0.7578 | 0.46194
532 | 0.0059778 | 0.96997 | 0.80795 | 0.781 | 0.48407 | 532 | 0.0050275 | 0.98561 | 0.86066 | 0.74212 | 0.44492
533 | 0.0054579 | 0.97374 | 0.81748 | 0.765 | 0.46664 | 533 | 0.0045817 | 0.98759 | 0.86918 | 0.72555 | 0.4281
534 | 0.0049812 | 0.97754 | 0.82724 | 0.749 | 0.44944 | 534 | 0.0041737 | 0.98958 | 0.87791 | 0.70905 | 0.41155
535 | 0.0045429 | 0.98148 | 0.8374 | 0.733 | 0.43253 | 535 | 0.0037993 | 0.99171 | 0.88704 | 0.6926 | 0.39532
536 | 0.0041391 | 0.98563 | 0.84808 | 0.717 | 0.41586 | 536 | 0.0034551 | 0.99405 | 0.89667 | 0.67622 | 0.37938
537 | 0.0037679 | 0.98975 | 0.85906 | 0.7 | 0.39937 | 537 | 0.0031395 | 0.99635 | 0.9066 | 0.65896 | 0.36365
538 | 0.0034278 | 0.99355 | 0.87007 | 0.683 | 0.38314 | 538 | 0.0028508 | 0.99831 | 0.9165 | 0.64176 | 0.34822
539 | 0.003117 | 0.99671 | 0.88078 | 0.667 | 0.36722 | 539 | 0.0025874 | 0.99963 | 0.92606 | 0.62557 | 0.33314
540 | 0.0028335 | 0.99893 | 0.89087 | 0.65 | 0.35171 | 540 | 0.0023478 | 1 | 0.93494 | 0.60849 | 0.31847
541 | 0.0025756 | 0.99994 | 0.90006 | 0.633 | 0.33654 | 541 | 0.0021301 | 0.99916 | 0.94283 | 0.59148 | 0.30417
542 | 0.0023408 | 0.99969 | 0.90825 | 0.616 | 0.32165 | 542 | 0.0019324 | 0.99707 | 0.94966 | 0.57454 | 0.29018
543 | 0.0021272 | 0.99818 | 0.91543 | 0.599 | 0.30708 | 543 | 0.0017528 | 0.99373 | 0.95541 | 0.55765 | 0.27653
544 | 0.0019328 | 0.9954 | 0.92158 | 0.581 | 0.2929 | 544 | 0.0015897 | 0.98914 | 0.96005 | 0.5399 | 0.26327
545 | 0.0017557 | 0.99138 | 0.92666 | 0.564 | 0.27914 | 545 | 0.0014414 | 0.98334 | 0.96358 | 0.52314 | 0.25044
546 | 0.0015945 | 0.9862 | 0.93074 | 0.548 | 0.26574 | 546 | 0.0013067 | 0.97641 | 0.96605 | 0.50737 | 0.23798
547 | 0.0014478 | 0.98023 | 0.93416 | 0.531 | 0.25265 | 547 | 0.0011843 | 0.96872 | 0.96782 | 0.49073 | 0.22585
548 | 0.0013143 | 0.97391 | 0.93732 | 0.514 | 0.23992 | 548 | 0.0010731 | 0.96072 | 0.96932 | 0.47415 | 0.21408
549 | 0.0011928 | 0.96765 | 0.94063 | 0.497 | 0.22759 | 549 | 0.00097213 | 0.95281 | 0.97098 | 0.45764 | 0.20271
550 | 0.0010823 | 0.96188 | 0.94453 | 0.481 | 0.21572 | 550 | 0.00088046 | 0.9454 | 0.97323 | 0.4421 | 0.19179
551 | 0.00098182 | 0.95682 | 0.94929 | 0.465 | 0.20424 | 551 | 0.00079727 | 0.93872 | 0.97636 | 0.42662 | 0.18125
552 | 0.00089053 | 0.95215 | 0.95468 | 0.448 | 0.19307 | 552 | 0.00072183 | 0.93245 | 0.98012 | 0.41027 | 0.17103
553 | 0.00080769 | 0.9474 | 0.96031 | 0.433 | 0.18229 | 553 | 0.0006535 | 0.92612 | 0.98412 | 0.39582 | 0.16118
554 | 0.00073257 | 0.9421 | 0.96579 | 0.417 | 0.17193 | 554 | 0.00059165 | 0.91928 | 0.98795 | 0.38051 | 0.15175
555 | 0.00066451 | 0.93583 | 0.9707 | 0.402 | 0.16206 | 555 | 0.00053572 | 0.91151 | 0.99119 | 0.36616 | 0.14278
556 | 0.00060289 | 0.92827 | 0.97476 | 0.3864 | 0.1526 | 556 | 0.00048516 | 0.90253 | 0.99354 | 0.35132 | 0.1342
557 | 0.00054706 | 0.91967 | 0.97806 | 0.3715 | 0.14349 | 557 | 0.00043945 | 0.89255 | 0.99511 | 0.33716 | 0.12596
558 | 0.00049646 | 0.91036 | 0.98082 | 0.3569 | 0.13475 | 558 | 0.00039809 | 0.88193 | 0.99613 | 0.32333 | 0.11808
559 | 0.00045057 | 0.90068 | 0.98327 | 0.3427 | 0.12642 | 559 | 0.00036064 | 0.87099 | 0.99684 | 0.30991 | 0.11058
560 | 0.00040893 | 0.89095 | 0.98564 | 0.3288 | 0.11853 | 560 | 0.00032673 | 0.86005 | 0.99745 | 0.29681 | 0.10349
561 | 0.00037114 | 0.88139 | 0.98808 | 0.3151 | 0.11101 | 561 | 0.000296 | 0.8493 | 0.99815 | 0.28394 | 0.096755
562 | 0.00033684 | 0.87183 | 0.99056 | 0.3018 | 0.10379 | 562 | 0.00026817 | 0.8386 | 0.99887 | 0.27147 | 0.090306
563 | 0.00030572 | 0.86206 | 0.99294 | 0.2888 | 0.096921 | 563 | 0.00024297 | 0.82773 | 0.99949 | 0.25931 | 0.084177
564 | 0.0002775 | 0.85184 | 0.99512 | 0.2762 | 0.090426 | 564 | 0.00022015 | 0.81646 | 0.99991 | 0.24756 | 0.078397
565 | 0.00025192 | 0.84097 | 0.99698 | 0.2639 | 0.084346 | 565 | 0.0001995 | 0.80462 | 1 | 0.23612 | 0.072996
566 | 0.00022872 | 0.8293 | 0.99841 | 0.2519 | 0.07862 | 566 | 0.00018081 | 0.79205 | 0.99967 | 0.22498 | 0.067921
567 | 0.0002077 | 0.81691 | 0.99939 | 0.2403 | 0.073175 | 567 | 0.0001639 | 0.77884 | 0.99888 | 0.21424 | 0.063105
568 | 0.00018864 | 0.80391 | 0.99991 | 0.2291 | 0.068029 | 568 | 0.0001486 | 0.7651 | 0.99764 | 0.2039 | 0.058564
569 | 0.00017136 | 0.79041 | 0.99996 | 0.2182 | 0.063198 | 569 | 0.00013475 | 0.75093 | 0.99594 | 0.19386 | 0.05431
570 | 0.00015569 | 0.77653 | 0.99954 | 0.2076 | 0.058701 | 570 | 0.00012221 | 0.73644 | 0.99378 | 0.18411 | 0.050357
571 | 0.00014148 | 0.76231 | 0.99862 | 0.1974 | 0.054483 | 571 | 0.00011086 | 0.7217 | 0.99112 | 0.17476 | 0.046657
572 | 0.0001286 | 0.74767 | 0.99705 | 0.1876 | 0.050489 | 572 | 0.00010059 | 0.7066 | 0.98783 | 0.1658 | 0.04316
573 | 0.00011691 | 0.73248 | 0.9947 | 0.1782 | 0.046734 | 573 | 9.1291e-05 | 0.69103 | 0.98379 | 0.15721 | 0.039881
574 | 0.00010632 | 0.71662 | 0.99142 | 0.169 | 0.043236 | 574 | 8.2873e-05 | 0.6749 | 0.97883 | 0.14884 | 0.036831
575 | 9.6704e-05 | 0.70001 | 0.98706 | 0.1602 | 0.040009 | 575 | 7.525e-05 | 0.65811 | 0.97283 | 0.14084 | 0.034023
576 | 8.7986e-05 | 0.68265 | 0.9816 | 0.1517 | 0.03701 | 576 | 6.8346e-05 | 0.64067 | 0.96577 | 0.13314 | 0.031418
577 | 8.0076e-05 | 0.66482 | 0.97545 | 0.1436 | 0.03419 | 577 | 6.2094e-05 | 0.62285 | 0.95806 | 0.12581 | 0.028974
578 | 7.2898e-05 | 0.64686 | 0.96912 | 0.1358 | 0.031556 | 578 | 5.643e-05 | 0.60498 | 0.95019 | 0.11877 | 0.026696
579 | 6.6384e-05 | 0.62907 | 0.96309 | 0.1284 | 0.029115 | 579 | 5.1299e-05 | 0.58733 | 0.94265 | 0.1121 | 0.024588
580 | 6.0471e-05 | 0.61173 | 0.95784 | 0.1212 | 0.026875 | 580 | 4.6649e-05 | 0.57015 | 0.9359 | 0.10564 | 0.022657
581 | 5.5102e-05 | 0.595 | 0.95366 | 0.1143 | 0.024801 | 581 | 4.2434e-05 | 0.5536 | 0.93021 | 0.09945 | 0.020873
582 | 5.0227e-05 | 0.57878 | 0.95024 | 0.1078 | 0.02286 | 582 | 3.8613e-05 | 0.53759 | 0.92528 | 0.093633 | 0.019206
583 | 4.5799e-05 | 0.56293 | 0.94709 | 0.1015 | 0.021053 | 583 | 3.5149e-05 | 0.52197 | 0.92063 | 0.08801 | 0.017658
584 | 4.1776e-05 | 0.54732 | 0.94375 | 0.0956 | 0.019386 | 584 | 3.2007e-05 | 0.50663 | 0.91581 | 0.082752 | 0.016232
585 | 3.812e-05 | 0.53182 | 0.93978 | 0.0899 | 0.017862 | 585 | 2.9156e-05 | 0.49144 | 0.9104 | 0.077685 | 0.01493
586 | 3.4797e-05 | 0.51635 | 0.93483 | 0.0845 | 0.016458 | 586 | 2.6569e-05 | 0.47633 | 0.90406 | 0.072894 | 0.013733
587 | 3.1776e-05 | 0.50087 | 0.92892 | 0.0793 | 0.015147 | 587 | 2.4221e-05 | 0.46126 | 0.89681 | 0.068292 | 0.012618
588 | 2.9029e-05 | 0.48535 | 0.92218 | 0.0745 | 0.013931 | 588 | 2.2089e-05 | 0.44621 | 0.88879 | 0.064049 | 0.011585
589 | 2.6529e-05 | 0.46978 | 0.91473 | 0.0699 | 0.012812 | 589 | 2.0153e-05 | 0.43116 | 0.88012 | 0.059993 | 0.010636
590 | 2.4255e-05 | 0.45414 | 0.90669 | 0.0655 | 0.01179 | 590 | 1.8394e-05 | 0.4161 | 0.8709 | 0.056121 | 0.0097713
591 | 2.2185e-05 | 0.43845 | 0.89817 | 0.0613 | 0.010849 | 591 | 1.6795e-05 | 0.40105 | 0.86126 | 0.052433 | 0.0089759
592 | 2.03e-05 | 0.42278 | 0.88919 | 0.0574 | 0.0099711 | 592 | 1.5342e-05 | 0.38605 | 0.85121 | 0.049015 | 0.0082358
593 | 1.8583e-05 | 0.40719 | 0.87976 | 0.0537 | 0.0091585 | 593 | 1.4021e-05 | 0.37119 | 0.84076 | 0.045778 | 0.0075519
594 | 1.7018e-05 | 0.39175 | 0.86989 | 0.0502 | 0.0084124 | 594 | 1.2819e-05 | 0.35652 | 0.82993 | 0.042722 | 0.006925
595 | 1.5592e-05 | 0.37653 | 0.8596 | 0.0469 | 0.0077343 | 595 | 1.1725e-05 | 0.34209 | 0.81874 | 0.039847 | 0.0063561
596 | 1.4292e-05 | 0.36156 | 0.84891 | 0.0438 | 0.0071125 | 596 | 1.073e-05 | 0.32794 | 0.8072 | 0.03715 | 0.0058353
597 | 1.3107e-05 | 0.34686 | 0.83786 | 0.0409 | 0.0065348 | 597 | 9.8229e-06 | 0.31407 | 0.79536 | 0.034633 | 0.0053523
598 | 1.2025e-05 | 0.33242 | 0.82652 | 0.03816 | 0.0060011 | 598 | 8.9971e-06 | 0.3005 | 0.78328 | 0.032258 | 0.004907
599 | 1.1037e-05 | 0.31826 | 0.81494 | 0.03558 | 0.0055117 | 599 | 8.2444e-06 | 0.28722 | 0.77101 | 0.030027 | 0.0044993
600 | 1.0136e-05 | 0.30438 | 0.80317 | 0.03315 | 0.0050669 | 600 | 7.5583e-06 | 0.27423 | 0.75861 | 0.02793 | 0.0041293
601 | 9.312e-06 | 0.29078 | 0.79125 | 0.03087 | 0.0046587 | 601 | 6.9326e-06 | 0.26155 | 0.74611 | 0.025966 | 0.0037903
602 | 8.5594e-06 | 0.27751 | 0.77912 | 0.02874 | 0.0042795 | 602 | 6.3617e-06 | 0.24919 | 0.73345 | 0.024134 | 0.003476
603 | 7.8714e-06 | 0.26458 | 0.76669 | 0.02674 | 0.0039294 | 603 | 5.8406e-06 | 0.23719 | 0.72055 | 0.022417 | 0.0031864
604 | 7.2422e-06 | 0.25201 | 0.7539 | 0.02487 | 0.0036087 | 604 | 5.3649e-06 | 0.22555 | 0.70736 | 0.020815 | 0.0029215
605 | 6.6666e-06 | 0.23984 | 0.74068 | 0.02312 | 0.0033177 | 605 | 4.9303e-06 | 0.2143 | 0.69381 | 0.019318 | 0.0026814
606 | 6.1397e-06 | 0.22806 | 0.72699 | 0.02147 | 0.0030511 | 606 | 4.5331e-06 | 0.20344 | 0.67986 | 0.01791 | 0.0024619
607 | 5.6573e-06 | 0.2167 | 0.71291 | 0.01994 | 0.0028037 | 607 | 4.1701e-06 | 0.19299 | 0.66559 | 0.016606 | 0.0022586
608 | 5.2153e-06 | 0.20575 | 0.69849 | 0.01851 | 0.0025756 | 608 | 3.838e-06 | 0.18294 | 0.65106 | 0.01539 | 0.0020714
609 | 4.8104e-06 | 0.19522 | 0.68383 | 0.01718 | 0.0023667 | 609 | 3.5342e-06 | 0.17329 | 0.63635 | 0.014261 | 0.0019002
610 | 4.4391e-06 | 0.1851 | 0.66899 | 0.01593 | 0.002177 | 610 | 3.256e-06 | 0.16404 | 0.62152 | 0.013201 | 0.0017451
611 | 4.0985e-06 | 0.1754 | 0.65404 | 0.01477 | 0.0020032 | 611 | 3.0013e-06 | 0.15518 | 0.60663 | 0.01222 | 0.0016031
612 | 3.786e-06 | 0.16609 | 0.63898 | 0.01369 | 0.0018419 | 612 | 2.7679e-06 | 0.14671 | 0.59169 | 0.011308 | 0.0014716
613 | 3.4991e-06 | 0.15717 | 0.62382 | 0.01269 | 0.0016932 | 613 | 2.554e-06 | 0.1386 | 0.57672 | 0.010465 | 0.0013506
614 | 3.2356e-06 | 0.14862 | 0.60858 | 0.01175 | 0.0015569 | 614 | 2.3578e-06 | 0.13085 | 0.56171 | 0.009674 | 0.0012399
615 | 2.9935e-06 | 0.14043 | 0.59325 | 0.01088 | 0.0014331 | 615 | 2.1779e-06 | 0.12344 | 0.54667 | 0.0089431 | 0.0011395
616 |  | 0.13259 | 0.57786 | 0.01007 | 0.0013197 | 616 |  | 0.11636 | 0.53162 | 0.0082639 | 0.0010476
617 |  | 0.12509 | 0.56249 | 0.00932 | 0.0012145 | 617 |  | 0.1096 | 0.51665 | 0.007636 | 0.0009625
618 |  | 0.11793 | 0.54725 | 0.00862 | 0.0011174 | 618 |  | 0.10315 | 0.50183 | 0.0070511 | 0.00088413
619 |  | 0.11109 | 0.53221 | 0.00797 | 0.0010284 | 619 |  | 0.097017 | 0.48725 | 0.0065088 | 0.00081237
620 |  | 0.10457 | 0.51745 | 0.00737 | 0.00094731 | 620 |  | 0.091177 | 0.47298 | 0.0060091 | 0.00074712
621 |  | 0.098366 | 0.50299 | 0.00682 | 0.00087281 | 621 |  | 0.085627 | 0.45902 | 0.0055517 | 0.00068725
622 |  | 0.092468 | 0.48869 | 0.0063 | 0.00080358 | 622 |  | 0.080364 | 0.44525 | 0.0051202 | 0.00063172
623 |  | 0.086876 | 0.47438 | 0.00582 | 0.00073962 | 623 |  | 0.075382 | 0.43152 | 0.0047225 | 0.00058051
624 |  | 0.081583 | 0.4599 | 0.00538 | 0.00068097 | 624 |  | 0.070677 | 0.41767 | 0.0043585 | 0.00053362
625 |  | 0.076584 | 0.44512 | 0.00497 | 0.00062765 | 625 |  | 0.066239 | 0.40361 | 0.0040199 | 0.00049105
626 |  | 0.071868 | 0.43001 | 0.00459 | 0.00057875 | 626 |  | 0.062061 | 0.38928 | 0.0037066 | 0.00045207
627 |  | 0.067419 | 0.41469 | 0.00424 | 0.00053336 | 627 |  | 0.058126 | 0.37481 | 0.0034185 | 0.00041595
628 |  | 0.063218 | 0.39934 | 0.003913 | 0.00049144 | 628 |  | 0.054417 | 0.36037 | 0.0031498 | 0.00038265
629 |  | 0.059249 | 0.38412 | 0.003613 | 0.00045298 | 629 |  | 0.05092 | 0.34608 | 0.0029037 | 0.00035214
630 |  | 0.055499 | 0.36917 | 0.003335 | 0.00041796 | 630 |  | 0.047621 | 0.33208 | 0.002676 | 0.0003244
631 |  | 0.051955 | 0.35458 | 0.003079 | 0.00038579 | 631 |  | 0.04451 | 0.31845 | 0.0024667 | 0.00029896
632 |  | 0.04861 | 0.34039 | 0.002842 | 0.00035591 | 632 |  | 0.041579 | 0.30523 | 0.0022732 | 0.00027536
633 |  | 0.045459 | 0.32661 | 0.002623 | 0.00032829 | 633 |  | 0.038822 | 0.29241 | 0.0020947 | 0.00025359
634 |  | 0.042494 | 0.31325 | 0.002421 | 0.00030293 | 634 |  | 0.036233 | 0.28 | 0.0019304 | 0.00023363
635 |  | 0.03971 | 0.30032 | 0.002235 | 0.0002798 | 635 |  | 0.033805 | 0.26802 | 0.0017793 | 0.00021546
636 |  | 0.037095 | 0.28782 | 0.002062 | 0.00025854 | 636 |  | 0.03153 | 0.25646 | 0.001639 | 0.00019878
637 |  | 0.034635 | 0.27576 | 0.001903 | 0.00023879 | 637 |  | 0.029392 | 0.24533 | 0.0015102 | 0.0001833
638 |  | 0.032313 | 0.26416 | 0.001757 | 0.00022051 | 638 |  | 0.027378 | 0.23464 | 0.0013922 | 0.000169
639 |  | 0.030115 | 0.25301 | 0.001621 | 0.0002037 | 639 |  | 0.025477 | 0.22439 | 0.0012824 | 0.00015587
640 |  | 0.028031 | 0.24232 | 0.001497 | 0.00018834 | 640 |  | 0.023677 | 0.21457 | 0.0011824 | 0.0001439
641 |  | 0.026056 | 0.23206 | 0.001382 | 0.00017419 | 641 |  | 0.021974 | 0.20517 | 0.0010899 | 0.00013288
642 |  | 0.024201 | 0.22216 | 0.001276 | 0.00016102 | 642 |  | 0.020378 | 0.19611 | 0.0010047 | 0.00012264
643 |  | 0.022476 | 0.21252 | 0.001178 | 0.00014882 | 643 |  | 0.018896 | 0.1873 | 0.00092613 | 0.00011317
644 |  | 0.020887 | 0.20306 | 0.001088 | 0.00013759 | 644 |  | 0.017533 | 0.17869 | 0.00085404 | 0.00010447
645 |  | 0.019437 | 0.19373 | 0.001005 | 0.00012734 | 645 |  | 0.01629 | 0.17022 | 0.00078767 | 9.6534e-05
646 |  | 0.01812 | 0.18449 | 0.000928 | 0.00011789 | 646 |  | 0.015163 | 0.16185 | 0.00072619 | 8.9235e-05
647 |  | 0.016915 | 0.1754 | 0.000857 | 0.0001091 | 647 |  | 0.014133 | 0.15364 | 0.00066959 | 8.245e-05
648 |  | 0.015799 | 0.16651 | 0.000792 | 0.00010095 | 648 |  | 0.01318 | 0.14562 | 0.00061785 | 7.6175e-05
649 |  | 0.014754 | 0.15787 | 0.000732 | 9.3444e-05 | 649 |  | 0.012289 | 0.13785 | 0.00057017 | 7.0403e-05
650 |  | 0.013766 | 0.14951 | 0.000677 | 8.6575e-05 | 650 |  | 0.011449 | 0.13035 | 0.00052651 | 6.5128e-05
651 |  | 0.012825 | 0.14147 | 0.000626 | 8.024e-05 | 651 |  | 0.010649 | 0.12315 | 0.0004861 | 6.027e-05
652 |  | 0.01193 | 0.13376 | 0.000579 | 7.4338e-05 | 652 |  | 0.0098916 | 0.11626 | 0.00044892 | 5.5751e-05
653 |  | 0.011085 | 0.12638 | 0.000536 | 6.8865e-05 | 653 |  | 0.0091766 | 0.10968 | 0.00041494 | 5.1567e-05
654 |  | 0.010289 | 0.11934 | 0.000496 | 6.3817e-05 | 654 |  | 0.0085048 | 0.10341 | 0.00038339 | 4.7714e-05
655 |  | 0.0095432 | 0.11264 | 0.000459 | 5.9191e-05 | 655 |  | 0.0078761 | 0.097455 | 0.00035425 | 4.4188e-05
656 |  | 0.0088461 | 0.10626 | 0.000425 | 5.492e-05 | 656 |  | 0.0072896 | 0.0918 | 0.00032751 | 4.0937e-05
657 |  | 0.008196 | 0.10021 | 0.0003935 | 5.0937e-05 | 657 |  | 0.0067436 | 0.086437 | 0.00030277 | 3.791e-05
658 |  | 0.0075906 | 0.094456 | 0.0003645 | 4.724e-05 | 658 |  | 0.006236 | 0.081351 | 0.00028003 | 3.5105e-05
659 |  | 0.0070275 | 0.088993 | 0.0003377 | 4.3827e-05 | 659 |  | 0.0057647 | 0.076531 | 0.00025905 | 3.2519e-05
660 |  | 0.0065045 | 0.083808 | 0.0003129 | 4.0695e-05 | 660 |  | 0.0053276 | 0.071962 | 0.00023966 | 3.0149e-05
661 |  | 0.0060195 | 0.078887 | 0.0002901 | 3.7799e-05 | 661 |  | 0.0049229 | 0.067634 | 0.00022186 | 2.7962e-05
662 |  | 0.0055709 | 0.074219 | 0.0002689 | 3.5097e-05 | 662 |  | 0.0045491 | 0.063536 | 0.00020534 | 2.5923e-05
663 |  | 0.0051573 | 0.069795 | 0.0002493 | 3.2586e-05 | 663 |  | 0.004205 | 0.059659 | 0.00019008 | 2.4033e-05
664 |  | 0.0047769 | 0.065605 | 0.0002313 | 3.0265e-05 | 664 |  | 0.003889 | 0.055993 | 0.00017609 | 2.2287e-05
665 |  | 0.0044279 | 0.061638 | 0.0002146 | 2.8132e-05 | 665 |  | 0.0035995 | 0.052528 | 0.00016313 | 2.0685e-05
666 |  | 0.0041083 | 0.057886 | 0.0001991 | 2.6159e-05 | 666 |  | 0.0033346 | 0.049256 | 0.00015112 | 1.9206e-05
667 |  | 0.0038147 | 0.054337 | 0.0001848 | 2.4316e-05 | 667 |  | 0.0030917 | 0.046167 | 0.00014006 | 1.7826e-05
668 |  | 0.0035439 | 0.050981 | 0.0001716 | 2.2602e-05 | 668 |  | 0.0028679 | 0.043251 | 0.00012986 | 1.6544e-05
669 |  | 0.0032933 | 0.04781 | 0.0001593 | 2.1015e-05 | 669 |  | 0.0026611 | 0.0405 | 0.00012037 | 1.536e-05
670 |  | 0.0030605 | 0.044813 | 0.000148 | 1.9553e-05 | 670 |  | 0.0024693 | 0.037905 | 0.00011167 | 1.427e-05
671 |  | 0.0028437 | 0.041983 | 0.0001375 | 1.8198e-05 | 671 |  | 0.002291 | 0.035458 | 0.00010359 | 1.3261e-05
672 |  | 0.0026418 | 0.039311 | 0.0001277 | 1.693e-05 | 672 |  | 0.0021251 | 0.033152 | 9.6063e-05 | 1.2319e-05
673 |  | 0.0024537 | 0.036789 | 0.0001187 | 1.5749e-05 | 673 |  | 0.0019709 | 0.030979 | 8.916e-05 | 1.1443e-05
674 |  | 0.0022787 | 0.03441 | 0.0001104 | 1.4655e-05 | 674 |  | 0.0018277 | 0.028932 | 8.2803e-05 | 1.0632e-05
675 |  | 0.002116 | 0.032166 | 0.0001026 | 1.3648e-05 | 675 |  | 0.0016946 | 0.027006 | 7.6839e-05 | 9.8867e-06
676 |  | 0.0019646 | 0.030051 | 9.54e-05 | 1.2714e-05 | 676 |  | 0.001571 | 0.025193 | 7.1341e-05 | 9.1967e-06
677 |  | 0.0018238 | 0.028059 | 8.88e-05 | 1.1841e-05 | 677 |  | 0.0014563 | 0.023488 | 6.6307e-05 | 8.5521e-06
678 |  | 0.0016929 | 0.026186 | 8.26e-05 | 1.1027e-05 | 678 |  | 0.0013497 | 0.021888 | 6.1587e-05 | 7.9526e-06
679 |  | 0.0015712 | 0.024426 | 7.69e-05 | 1.0272e-05 | 679 |  | 0.0012509 | 0.020387 | 5.7252e-05 | 7.3975e-06
680 |  | 0.001458 | 0.022774 | 7.15e-05 | 9.5764e-06 | 680 |  | 0.001159 | 0.01898 | 5.3154e-05 | 6.8862e-06
681 |  | 0.0013527 | 0.021224 | 6.66e-05 | 8.9303e-06 | 681 |  | 0.0010738 | 0.017662 | 4.9438e-05 | 6.4122e-06
682 |  | 0.0012548 | 0.019768 | 6.2e-05 | 8.3254e-06 | 682 |  | 0.00099457 | 0.016426 | 4.5956e-05 | 5.9691e-06
683 |  | 0.0011634 | 0.018399 | 5.78e-05 | 7.7613e-06 | 683 |  | 0.0009208 | 0.015266 | 4.278e-05 | 5.5565e-06
684 |  | 0.0010781 | 0.017109 | 5.38e-05 | 7.2377e-06 | 684 |  | 0.00085206 | 0.014175 | 3.9761e-05 | 5.1741e-06
685 |  | 0.00099842 | 0.015894 | 5.01e-05 | 6.7542e-06 | 685 |  | 0.00078792 | 0.013149 | 3.6973e-05 | 4.8214e-06
686 |  | 0.00092396 | 0.014749 | 4.67e-05 | 6.305e-06 | 686 |  | 0.0007281 | 0.012184 | 3.4413e-05 | 4.4941e-06
687 |  | 0.00085471 | 0.013677 | 4.36e-05 | 5.8841e-06 | 687 |  | 0.00067255 | 0.011283 | 3.2082e-05 | 4.188e-06
688 |  | 0.00079065 | 0.01268 | 4.06e-05 | 5.4911e-06 | 688 |  | 0.00062123 | 0.010445 | 2.9831e-05 | 3.9027e-06
689 |  | 0.00073168 | 0.011759 | 3.789e-05 | 5.1259e-06 | 689 |  | 0.00057407 | 0.0096719 | 2.78e-05 | 3.6378e-06
690 |  | 0.00067765 | 0.010912 | 3.533e-05 | 4.788e-06 | 690 |  | 0.0005309 | 0.0089625 | 2.5884e-05 | 3.3931e-06
691 |  | 0.0006283 | 0.010137 | 3.295e-05 | 4.4735e-06 | 691 |  | 0.00049152 | 0.0083139 | 2.4105e-05 | 3.1656e-06
692 |  | 0.00058311 | 0.0094257 | 3.075e-05 | 4.1783e-06 | 692 |  | 0.00045551 | 0.0077191 | 2.2463e-05 | 2.9524e-06
693 |  | 0.00054158 | 0.0087692 | 2.87e-05 | 3.9024e-06 | 693 |  | 0.00042247 | 0.0071711 | 2.0936e-05 | 2.7535e-06
694 |  | 0.00050329 | 0.0081608 | 2.679e-05 | 3.6458e-06 | 694 |  | 0.00039203 | 0.006664 | 1.9514e-05 | 2.5688e-06
695 |  | 0.00046787 | 0.0075945 | 2.501e-05 | 3.4084e-06 | 695 |  | 0.00036391 | 0.0061927 | 1.8191e-05 | 2.398e-06
696 |  | 0.00043501 | 0.0070659 | 2.336e-05 | 3.1874e-06 | 696 |  | 0.00033787 | 0.0057533 | 1.6967e-05 | 2.2393e-06
697 |  | 0.00040449 | 0.0065725 | 2.182e-05 | 2.98e-06 | 697 |  | 0.00031371 | 0.0053439 | 1.5825e-05 | 2.0906e-06
698 |  | 0.00037614 | 0.0061126 | 2.038e-05 | 2.786e-06 | 698 |  | 0.00029131 | 0.0049629 | 1.476e-05 | 1.9517e-06
699 |  | 0.00034978 | 0.0056844 | 1.905e-05 | 2.6055e-06 | 699 |  | 0.00027051 | 0.0046086 | 1.3777e-05 | 1.8226e-06
700 |  | 0.00032528 | 0.0052861 | 1.78e-05 | 2.4382e-06 | 700 |  | 0.0002512 | 0.0042795 | 1.2855e-05 | 1.7032e-06
701 |  | 0.00030248 | 0.0049157 | 1.664e-05 | 2.2823e-06 | 701 |  | 0.00023326 | 0.003974 | 1.2e-05 | 1.592e-06
702 |  | 0.00028124 | 0.0045709 | 1.556e-05 | 2.1358e-06 | 702 |  | 0.00021657 | 0.00369 | 1.1205e-05 | 1.4877e-06
703 |  | 0.00026143 | 0.0042491 | 1.454e-05 | 1.9987e-06 | 703 |  | 0.00020103 | 0.0034253 | 1.0455e-05 | 1.3902e-06
704 |  | 0.00024293 | 0.0039483 | 1.36e-05 | 1.871e-06 | 704 |  | 0.00018654 | 0.0031784 | 9.7657e-06 | 1.2995e-06
705 |  | 0.00022564 | 0.0036667 | 1.273e-05 | 1.7525e-06 | 705 |  | 0.00017302 | 0.0029475 | 9.128e-06 | 1.2155e-06
706 |  | 0.00020948 | 0.003403 | 1.191e-05 | 1.642e-06 | 706 |  | 0.0001604 | 0.0027316 | 8.5279e-06 | 1.1372e-06
707 |  | 0.0001944 | 0.0031563 | 1.114e-05 | 1.5381e-06 | 707 |  | 0.00014864 | 0.00253 | 7.9653e-06 | 1.0638e-06
708 |  | 0.00018037 | 0.0029262 | 1.043e-05 | 1.4407e-06 | 708 |  | 0.00013772 | 0.0023423 | 7.4471e-06 | 9.9503e-07
709 |  | 0.00016735 | 0.0027121 | 9.76e-06 | 1.3499e-06 | 709 |  | 0.00012759 | 0.0021678 | 6.9589e-06 | 9.31e-07
710 |  | 0.00015529 | 0.0025133 | 9.14e-06 | 1.2656e-06 | 710 |  | 0.00011823 | 0.0020061 | 6.5076e-06 | 8.7161e-07
711 |  | 0.00014413 | 0.002329 | 8.56e-06 | 1.1868e-06 | 711 |  | 0.00010959 | 0.0018563 | 6.0861e-06 | 8.1622e-07
712 |  | 0.00013383 | 0.0021584 | 8.02e-06 | 1.1127e-06 | 712 |  | 0.00010161 | 0.0017179 | 5.6942e-06 | 7.6418e-07
713 |  | 0.00012431 | 0.0020007 | 7.51e-06 | 1.0433e-06 | 713 |  | 9.4248e-05 | 0.0015902 | 5.3246e-06 | 7.1547e-07
714 |  | 0.00011551 | 0.0018552 | 7.04e-06 | 9.7839e-07 | 714 |  | 8.7456e-05 | 0.0014725 | 4.9844e-06 | 6.7003e-07
715 |  | 0.00010739 | 0.0017211 | 6.6e-06 | 9.1808e-07 | 715 |  | 8.1191e-05 | 0.0013641 | 4.6663e-06 | 6.2785e-07
716 |  | 9.988e-05 | 0.0015975 | 6.18e-06 | 8.617e-07 | 716 |  | 7.5409e-05 | 0.0012644 | 4.3633e-06 | 5.8848e-07
717 |  | 9.2932e-05 | 0.0014834 | 5.8e-06 | 8.0864e-07 | 717 |  | 7.0066e-05 | 0.0011725 | 4.0893e-06 | 5.5147e-07
718 |  | 8.6491e-05 | 0.0013779 | 5.44e-06 | 7.5885e-07 | 718 |  | 6.5118e-05 | 0.0010875 | 3.8301e-06 | 5.168e-07
719 |  | 8.0509e-05 | 0.00128 | 5.1e-06 | 7.1231e-07 | 719 |  | 6.053e-05 | 0.0010089 | 3.5857e-06 | 4.8443e-07
720 |  | 7.4945e-05 | 0.001189 | 4.78e-06 | 6.6899e-07 | 720 |  | 5.6269e-05 | 0.00093586 | 3.3561e-06 | 4.5433e-07
721 |  | 6.9765e-05 | 0.0011043 | 4.49e-06 | 6.2844e-07 | 721 |  | 5.2307e-05 | 0.00086801 | 3.1481e-06 | 4.262e-07
722 |  | 6.4947e-05 | 0.0010256 | 4.21e-06 | 5.9024e-07 | 722 |  | 4.8627e-05 | 0.00080504 | 2.9477e-06 | 3.9974e-07
723 |  | 6.0472e-05 | 0.0009526 | 3.951e-06 | 5.5436e-07 | 723 |  | 4.5214e-05 | 0.00074668 | 2.7625e-06 | 3.7492e-07
724 |  | 5.6321e-05 | 0.00088496 | 3.709e-06 | 5.208e-07 | 724 |  | 4.2052e-05 | 0.0006927 | 2.5897e-06 | 3.5174e-07
725 |  | 5.2475e-05 | 0.0008224 | 3.482e-06 | 4.8953e-07 | 725 |  | 3.9127e-05 | 0.00064284 | 2.4279e-06 | 3.3016e-07
726 |  | 4.8914e-05 | 0.00076459 | 3.27e-06 | 4.6025e-07 | 726 |  | 3.6421e-05 | 0.00059683 | 2.2769e-06 | 3.0999e-07
727 |  | 4.5614e-05 | 0.00071111 | 3.07e-06 | 4.3265e-07 | 727 |  | 3.3917e-05 | 0.00055433 | 2.1347e-06 | 2.91e-07
728 |  | 4.2549e-05 | 0.00066157 | 2.884e-06 | 4.0671e-07 | 728 |  | 3.1595e-05 | 0.000515 | 2.0026e-06 | 2.7317e-07
729 |  | 3.9699e-05 | 0.00061561 | 2.71e-06 | 3.8242e-07 | 729 |  | 2.9438e-05 | 0.00047857 | 1.8792e-06 | 2.5651e-07
730 |  | 3.7044e-05 | 0.00057292 | 2.546e-06 | 3.5977e-07 | 730 |  | 2.7432e-05 | 0.00044477 | 1.7631e-06 | 2.4098e-07
731 |  | 3.4569e-05 | 0.00053321 | 2.393e-06 | 3.3853e-07 | 731 |  | 2.5564e-05 | 0.00041337 | 1.6549e-06 | 2.2645e-07
732 |  | 3.2259e-05 | 0.00049623 | 2.25e-06 | 3.1849e-07 | 732 |  | 2.3823e-05 | 0.00038418 | 1.5538e-06 | 2.1275e-07
733 |  | 3.0103e-05 | 0.00046178 | 2.115e-06 | 2.9964e-07 | 733 |  | 2.22e-05 | 0.00035702 | 1.4586e-06 | 1.9989e-07
734 |  | 2.8089e-05 | 0.00042965 | 1.989e-06 | 2.8198e-07 | 734 |  | 2.0687e-05 | 0.00033173 | 1.3699e-06 | 1.8785e-07
735 |  | 2.6209e-05 | 0.00039967 | 1.87e-06 | 2.6549e-07 | 735 |  | 1.9276e-05 | 0.00030816 | 1.2861e-06 | 1.7662e-07
736 |  | 2.4453e-05 | 0.00037169 | 1.759e-06 | 2.5003e-07 | 736 |  | 1.796e-05 | 0.0002862 | 1.2082e-06 | 1.6611e-07
737 |  | 2.2818e-05 | 0.00034565 | 1.655e-06 | 2.3542e-07 | 737 |  | 1.6736e-05 | 0.00026579 | 1.1352e-06 | 1.562e-07
738 |  | 2.13e-05 | 0.00032149 | 1.557e-06 | 2.2168e-07 | 738 |  | 1.5602e-05 | 0.00024688 | 1.0665e-06 | 1.4688e-07
739 |  | 1.9894e-05 | 0.00029916 | 1.466e-06 | 2.0879e-07 | 739 |  | 1.4553e-05 | 0.00022941 | 1.0028e-06 | 1.3815e-07
740 |  | 1.8597e-05 | 0.00027855 | 1.379e-06 | 1.9674e-07 | 740 |  | 1.3585e-05 | 0.00021332 | 9.4204e-07 | 1.3e-07
741 |  | 1.74e-05 | 0.00025958 | 1.299e-06 | 1.8543e-07 | 741 |  | 1.2694e-05 | 0.00019853 | 8.8619e-07 | 1.2236e-07
742 |  | 1.6293e-05 | 0.00024206 | 1.223e-06 | 1.7474e-07 | 742 |  | 1.187e-05 | 0.00018488 | 8.3322e-07 | 1.1515e-07
743 |  | 1.5263e-05 | 0.00022581 | 1.151e-06 | 1.6467e-07 | 743 |  | 1.1105e-05 | 0.00017223 | 7.8311e-07 | 1.0837e-07
744 |  | 1.43e-05 | 0.00021067 | 1.084e-06 | 1.5521e-07 | 744 |  | 1.0391e-05 | 0.00016047 | 7.3653e-07 | 1.0201e-07
745 |  | 1.3396e-05 | 0.00019653 | 1.022e-06 | 1.4637e-07 | 745 |  | 9.7206e-06 | 0.0001495 | 6.9347e-07 | 9.6069e-08
746 |  | 1.2545e-05 | 0.00018327 | 9.62e-07 | 1.3806e-07 | 746 |  | 9.0905e-06 | 0.00013923 | 6.5189e-07 | 9.0494e-08
747 |  | 1.1744e-05 | 0.00017087 | 9.07e-07 | 1.3021e-07 | 747 |  | 8.4988e-06 | 0.00012963 | 6.1379e-07 | 8.5232e-08
748 |  | 1.0993e-05 | 0.00015929 | 8.55e-07 | 1.228e-07 | 748 |  | 7.9445e-06 | 0.00012068 | 5.7783e-07 | 8.0279e-08
749 |  | 1.029e-05 | 0.00014851 | 8.06e-07 | 1.1585e-07 | 749 |  | 7.4266e-06 | 0.00011236 | 5.4399e-07 | 7.563e-08
750 |  | 9.634e-06 | 0.00013848 | 7.6e-07 | 1.0933e-07 | 750 |  | 6.9439e-06 | 0.00010464 | 5.1226e-07 | 7.1281e-08
751 |  | 9.0226e-06 | 0.00012918 | 7.16e-07 | 1.032e-07 | 751 |  | 6.4946e-06 | 9.748e-05 | 4.8196e-07 | 6.7195e-08
752 |  | 8.453e-06 | 0.00012054 | 6.75e-07 | 9.74e-08 | 752 |  | 6.0765e-06 | 9.0841e-05 | 4.5375e-07 | 6.3333e-08
753 |  | 7.9221e-06 | 0.00011252 | 6.37e-07 | 9.1927e-08 | 753 |  | 5.6872e-06 | 8.4682e-05 | 4.2764e-07 | 5.9695e-08
754 |  | 7.427e-06 | 0.00010506 | 6.01e-07 | 8.6781e-08 | 754 |  | 5.3248e-06 | 7.8965e-05 | 4.0294e-07 | 5.6278e-08
755 |  | 6.9652e-06 | 9.8123e-05 | 5.67e-07 | 8.1959e-08 | 755 |  | 4.9871e-06 | 7.3652e-05 | 3.7964e-07 | 5.308e-08
756 |  | 6.5342e-06 | 9.1664e-05 | 5.35e-07 | 7.742e-08 | 756 |  | 4.6723e-06 | 6.8713e-05 | 3.5774e-07 | 5.0075e-08
757 |  | 6.1313e-06 | 8.5646e-05 | 5.05e-07 | 7.3124e-08 | 757 |  | 4.3784e-06 | 6.4117e-05 | 3.3723e-07 | 4.7234e-08
758 |  | 5.7539e-06 | 8.003e-05 | 4.77e-07 | 6.9069e-08 | 758 |  | 4.1035e-06 | 5.9834e-05 | 3.1812e-07 | 4.4556e-08
759 |  | 5.3998e-06 | 7.4786e-05 | 4.5e-07 | 6.5253e-08 | 759 |  | 3.8459e-06 | 5.5839e-05 | 2.9971e-07 | 4.2038e-08
760 |  | 5.0671e-06 | 6.9883e-05 | 4.25e-07 | 6.1675e-08 | 760 |  | 3.6042e-06 | 5.211e-05 | 2.8269e-07 | 3.9681e-08
761 |  | 4.7541e-06 | 6.5297e-05 | 4.01e-07 | 5.8304e-08 | 761 |  | 3.3771e-06 | 4.8626e-05 | 2.6638e-07 | 3.7463e-08
762 |  | 4.4602e-06 | 6.1013e-05 | 3.79e-07 | 5.5112e-08 | 762 |  | 3.1641e-06 | 4.5376e-05 | 2.5143e-07 | 3.5366e-08
763 |  | 4.1847e-06 | 5.7018e-05 | 3.58e-07 | 5.2097e-08 | 763 |  | 2.9648e-06 | 4.235e-05 | 2.3719e-07 | 3.3387e-08
764 |  | 3.9269e-06 | 5.33e-05 | 3.382e-07 | 4.9258e-08 | 764 |  | 2.7785e-06 | 3.9536e-05 | 2.2378e-07 | 3.1526e-08
765 |  | 3.6862e-06 | 4.9843e-05 | 3.196e-07 | 4.6592e-08 | 765 |  | 2.6048e-06 | 3.6924e-05 | 2.1119e-07 | 2.9781e-08
766 |  | 3.4616e-06 | 4.6632e-05 | 3.021e-07 | 4.4078e-08 | 766 |  | 2.4429e-06 | 3.45e-05 | 1.9937e-07 | 2.8137e-08
767 |  | 3.2515e-06 | 4.3642e-05 | 2.855e-07 | 4.1696e-08 | 767 |  | 2.2917e-06 | 3.2246e-05 | 1.8817e-07 | 2.6582e-08
768 |  | 3.0546e-06 | 4.085e-05 | 2.699e-07 | 3.9444e-08 | 768 |  | 2.1501e-06 | 3.0144e-05 | 1.7765e-07 | 2.5114e-08
769 |  | 2.8695e-06 | 3.8235e-05 | 2.552e-07 | 3.7322e-08 | 769 |  | 2.0172e-06 | 2.8177e-05 | 1.6776e-07 | 2.3731e-08
770 |  | 2.695e-06 | 3.5778e-05 | 2.413e-07 | 3.5327e-08 | 770 |  | 1.8921e-06 | 2.6332e-05 | 1.5842e-07 | 2.2434e-08
771 |  | 2.5304e-06 | 3.3468e-05 | 2.282e-07 | 3.3445e-08 | 771 |  | 1.7742e-06 | 2.46e-05 | 1.4962e-07 | 2.1211e-08
772 |  | 2.3755e-06 | 3.1301e-05 | 2.159e-07 | 3.166e-08 | 772 |  | 1.6634e-06 | 2.2977e-05 | 1.4137e-07 | 2.0053e-08
773 |  | 2.2303e-06 | 2.9276e-05 | 2.042e-07 | 2.9971e-08 | 773 |  | 1.5597e-06 | 2.1463e-05 | 1.3354e-07 | 1.8959e-08
774 |  | 2.0948e-06 | 2.7391e-05 | 1.932e-07 | 2.8378e-08 | 774 |  | 1.463e-06 | 2.0055e-05 | 1.2618e-07 | 1.7928e-08
775 |  | 1.9686e-06 | 2.5641e-05 | 1.829e-07 | 2.688e-08 | 775 |  | 1.3732e-06 | 1.875e-05 | 1.193e-07 | 1.696e-08
776 |  | 1.8515e-06 | 2.4021e-05 | 1.731e-07 | 2.548e-08 | 776 |  | 1.2898e-06 | 1.7542e-05 | 1.1276e-07 | 1.6055e-08
777 |  | 1.7425e-06 | 2.2516e-05 | 1.638e-07 | 2.4166e-08 | 777 |  | 1.2123e-06 | 1.6422e-05 | 1.0657e-07 | 1.5208e-08
778 |  | 1.6406e-06 | 2.1114e-05 | 1.551e-07 | 2.2917e-08 | 778 |  | 1.1399e-06 | 1.538e-05 | 1.0078e-07 | 1.4403e-08
779 |  | 1.5451e-06 | 1.9805e-05 | 1.468e-07 | 2.1711e-08 | 779 |  | 1.0722e-06 | 1.4408e-05 | 9.5263e-08 | 1.3628e-08
780 |  | 1.4552e-06 | 1.8577e-05 | 1.39e-07 | 2.0526e-08 | 780 |  | 1.0085e-06 | 1.3497e-05 | 9.0086e-08 | 1.2867e-08